## Slide 1: TOF spectrometer (direct geometry)
Erik Knudsen

## Slide 2: Spectroscopy reminder

## Slide 3: Direct vs. Indirect

## Slide 4: Direct vs. Indirect

## Slide 5: Useful links / docs
http://mcstas.org/links
https://github.com/McStasMcXtrace/McCode/wiki
Documentation on the McCode tools
User documentation for the 2017- Python tool set
mcrun variants - table overview
mcplot variants - table overview
mcdisplay variants - table overview

## Slide 7: TOF diagram util based on mcdisplay
mcdisplay.pl --TOF --tmax=20 instrument…

## Slide 8: TOF diagram util based on mcdisplay
  mcdisplay-pyqtgraph --TOF instr

## Slide 9: Direct geometry schematic

## Slide 10
Today’s instruments:
One thermal
One cold

## Slide 11
Today’s instruments:
One thermal - IN4
One cold - IN5

## Slide 12: ILL IN4

## Slide 13: ILL IN4
Thermal, in ILL level C @ reactor face
Use of chopper, focusing monochromator and fermi-chopper

## Slide 14: McStas model
Get out ‘Neutron Site -> ILL -> ILL_IN4.instr
  Find the documentation for the instrument via Help -> mcdoc Component Reference
  Run to compile, and visualise the instrument with mcdisplay-webgl (Use setting in File->Preferences to set mcdisplay tool)
  Look at the code in the editor

## Slide 15: Special features
In DECLARE/INITIALIZE there is infrastructure to generate an S(q,⍵) with Dirac delta functions which is relevant for the current setting of the instrument
- Accessible by running default parameters, specifically (sample_coh=Dirac2D.sqw. - the default)
Run a simulation with default parameters and 1e7 neutron rays and inspect the output. Locate the detector output that illustrates the instrument resolution

## Slide 16: Investigate resolution @ different instrument settings
Run simulations at lambda=1.1, 2.2, 3.3 and 4.4 Å
Hint:
  Look at instrument output and documentation, you may have to adjust e.g. monochromator type for non-default wavelength
Comment on the found differences
Optionally play with monochromator mosaicity

## Slide 17: ILL IN5

## Slide 18: ILL IN5
Cold, in ILL7 guide hall
- On a guide with a 6-diskchopper setup

## Slide 19: ILL IN5 resolution
Use the ILL_IN5_Spots.instr from your local McStas
Run the instrument as is, observing diffraction from powder lines
Also visualise the instrument using mcdisplay

## Slide 20: Enclosed modifications wrt. IN5 in McStas
Resolution mode ala IN4 simulation, accessible by input parameter RESO=1
Single-peak inelastic Dirac peak accessible by input parameters:
  ttspot (where to point the peak in angle)
  nspots (how many spots to define)
  wspot (magnitude of energy exchange)

## Slide 21: Perform studies of resolution, IN5
- Use your gathered experience from the earlier IN4 simulations
Comment on the qualitative difference to the resolution function from IN4

## Slide 22: Investigate resolution properties via Spot_sample
Run a simulation with
  nspots=1 (one discrete inelastic spot)
  wspot=1 (energy-transfer 1meV)
  ttspot=-60,60 (vary spot position qvalue)
  -N13 (13 scan steps)
Investigate influence of sample size (reduce height and radius parameters)

## Slide 23: Investigate resolution properties via Spot_sample
Inelastic: Run a simulation with
  nspots=1 (one discrete inelastic spot)
  wspot=1,4 (energy-transfer 1meV to 4meV)
  ttspot=0 (vary spot position qvalue)
  -N21 (21 scan steps)