## Slide 1: Neutron optics
Peter Willendrup, DTU Physics & ESS DMSC
- And thanks to Ken Andersen ESS for letting me use a lot of his slides on guides!

## Slide 2: Neutron optics - subtopics
Key properties of the neutron
Transporting the beam
  Neutron guides and how they work
Tailoring the beam
  Spatially
  Directionally
  Temporally
  Energetically

## Slide 3: The neutron - a reminder
,
Mr. Neutron

## Slide 4: The neutron - a reminder
,
Mr. Neutron

## Slide 5: Optical properties - slow neutrons vs. light

## Slide 6: Optical properties - slow neutrons vs. light
Neutrons are scarce, but we have a chance to transport them
Corresponding to distances and excitations within condensed matter

## Slide 7: Neutron flux - and brilliance / brightness

## Slide 8: Neutron flux - and brilliance / brightness

## Slide 9: Neutron flux - and brilliance / brightness

## Slide 10: Neutron flux - and brilliance / brightness
10 m

## Slide 11: Neutron flux - and brilliance / brightness
10 m

## Slide 12: Neutron flux - and brilliance / brightness
10 m

## Slide 13: Neutron flux - and brilliance / brightness
10 m

## Slide 14: Neutron flux - and brilliance / brightness
10 m
n/s/cm-2

## Slide 15: Liouvilles Theorem

## Slide 16: Liouvilles Theorem
12

## Slide 17: Neutron guides in bunker @ PSI
Text
Text
- think optical fiber, however not total internal, rather total external reflection

## Slide 18: Reflection: Snell’s Law

## Slide 19: Reflection: Snell’s Law

## Slide 20: Reflection: Snell’s Law
H. Maier-Leibnitz and T. Springer Reactor Science and Technology 1963. Vol. 17. pp. 217 to 225

## Slide 21: Diffraction: Bragg’s Law
Idea:
“Expand reflectivity by means of Bragg scattering?

## Slide 22: Diffraction: Bragg’s Law
Idea:
“Expand reflectivity by means of Bragg scattering?

## Slide 23: Diffraction: Bragg’s Law
Idea:
“Expand reflectivity by means of Bragg scattering?

## Slide 24: Diffraction: Bragg’s Law
Idea:
“Expand reflectivity by means of Bragg scattering?

## Slide 25: Diffraction: Bragg’s Law
2𝝧
Idea:
“Expand reflectivity by means of Bragg scattering?

## Slide 26: Neutron Supermirrors

## Slide 27: Neutron Supermirrors

## Slide 28: Neutron Supermirrors

## Slide 29: Neutron Supermirrors

## Slide 30: Neutron Supermirrors

## Slide 31: Neutron Supermirrors
Mezei, F.; Dagleish, P. A. Communications on Physics 1977, Volume 2, Issue 2, pp. 41-3
Mezei, F.; Communications on Physics 1976, Volume 1, Issue 3, pp. 81-85

## Slide 32: State-of-the-art Supermirrors (2015?)

## Slide 33: State-of-the-art Supermirrors (2019)
Swiss Neutronics

## Slide 34: State-of-the-art Polarising Supermirrors (2019)
Swiss Neutronics

## Slide 35: What are guides used for?

## Slide 36: Focusing

## Slide 37: Focusing

## Slide 38: Focusing

## Slide 39: Spatial, directional beam tailoring
Slit: (configurable) opening in absorbing material
Collimators: Limiting divergence by sheets of absorbing material

## Slide 40: Disk Chopper - a “rotating slit”
Spatio-temporal tailoring of the beam
A cascade of these will introduce spectral filtering
c
s

## Slide 41: Velocity selector
A sort of “rotating collimator”
Spectral tailoring of the beam
ILL - SANS instrument D11: a "microscope" for exploring the nanoworld (YouTube)

## Slide 42: Fermi Choppers
slit-package (can be SM-coated)
Spectro-temporal tailoring of the beam, quite monochromatic

## Slide 43: Crystal monochromators (and analyzers)
Spectral tailoring via Bragg’s law
PG
Often far from being perfect single crystals
Various means of increasing crystal mosaicity are used
impacts divergence
focusing geometries

## Slide 44: Filters…
Freund, NIM 213 495 (1983)

## Slide 45: Techniques for neutron-optical design

## Slide 46: Guide_bot McStas Optimisation
https://github.com/mads-bertelsen/guide_bot

## Slide 47: Literature
G. L. Squires: Introduction to the Theory of Thermal Neutron Scattering, Cambridge Great all-round resource for understanding neutron-matter interaction
V. F. Sears: Neutron Optics, Oxford University Press 1989 Theoretically rigorous, not so many applications
M Utsuro & V. K. Ignatovich, Handbook of Neutron Optics, Wiley-VCH 2010 Very complete with many applications
R. Golub et al, Ultra-Cold Neutrons, IOP Publishing 1991 Introduction interactions neutrons – matter
A.-J. Dianoux & G. Lander (eds.), Neutron Data Booklet, Institut Laue Langevin 2003 Compact overview and formulas Download: https://www.ill.eu/fileadmin/user_upload/ILL/1_About_ILL/Documentation/NeutronDataBooklet.pdf

## Slide 48: Thank you!
Questions?
McStas talk and demo after the coffee break…