## Slide 1: MACS Instrument simulation
Mads Bertelsen, ESS DMSC

## Slide 2: MACS at NIST in Washington, USA
Kidney
Beamstop
Monochromator position
Moderator
Guide
Reactor
Sample environment
Image from NIST webpage

## Slide 3: MACS
Image from NIST webpage

## Slide 5: MACS
CAD model of instrument backend
McStas model of instrument backend
More than 600 geometries
2 Union master components

## Slide 6: MACS
Elastic incoherent air sacttering
Monochromator 5 meV
Analyzer 5 meV
Instant pulse from source

## Slide 7: MACS Results
Measurement
Simulation

## Slide 8: Conclusion
Union components can be used in practice for complex instruments
Still difficult to get all background simulated correctly
Can learn a lot about the instrument from the simulation