## Slide 1: Guide optimization
Mads Bertelsen, ESS DMSC

## Slide 2: Brilliance transfer
Phase space diagrams, space and divergence pairs (x,ηx) (y,ηy)
Luiville’s theorem states the phase-space density does not change
The brilliance transfer is the fraction of the original phase-space density that is left at a given point, for a given phase-space area
x
ηx
Figure of Merit
Beam phase-space

## Slide 3: Losses in supermirrors
Losses due to reflectivity

## Slide 4: Brilliance transfer after guide
Brilliance transfer can not exceed fraction of target that is covered by beam!
z
x
𝜂x
v
Divergence

## Slide 5: Consequence of brilliance transfer
Limit to maximum brilliance transfer with closed figure of merit
Must be a maximum amout of phase-space that should be extracted from source

## Slide 6: Backpropagation from sample to guide
L
U
S
𝜽
Sample
U = S + 2Ltan(𝜽)
V(βfocusing) = 2𝜽S
U
βfocusing

## Slide 7: Propagation from guide to sample
Sample
βmultiple
U
S

## Slide 8: Propagation from moderator to guide
L
W
M
Moderator
V(𝜶) = WM/L
𝜶

## Slide 9: Minimalist principle
U = S + 2Ltan(𝜽)
V(𝜶) = WM/L
V(β) = 2𝜽U
Width of the end of the guide
Phase-space received by guide
Phase-space needed by guide
Minimalist constraint
V(𝜶) = V(β) ⇒ 2𝜽U = WM/L
“Don’t put more food on your plate than you can eat!”

## Slide 10: Minimalist principle
Lower brilliance transfer, but still high
Lower background
Control over maximum divergence
Minimalist Principle
Brute force

## Slide 11: guide_bot idea
Neutron scattering facilities has a large requirement for guide optimization at start-up and in upgrade phases
Demands and requirements change rapidly
Many viable alternatives for each instrument
guide_bot is an answer to this situation
iFit

## Slide 12: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
Description of desired beam
Instrument length
Facility information
Computing options
Coating description (not optimized)

## Slide 13: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
S

## Slide 14: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
S S

## Slide 15: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
S S E S

## Slide 16: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
Module | Description
S | Straight guide
E | Elliptic guide
P | Parabolic guide
G | Gap
C | Curved guide
K | Kink
Selene | Selene guide system
Slit | Slit
M | Monochromator
Contributed by Leland Harriger, NIST, USA

## Slide 17: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
Code | Function
length | Length of the module
start | Start of the module
StartWidth | Start width of a module
StartHeight | Start height of a module
EndWidth | End width of a module
EndHeight | End height of a module
S C(start=6) S(maxlength=20)

## Slide 18: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
Additional options to control escaping line of sight

## Slide 19: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations

## Slide 20: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations

## Slide 21: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations

## Slide 22: guide_bot
Divergence H | ±0.75°
Divergence V | ±1.0°
Size H | 1.5 cm
Size V | 1.5 cm
Wavelength min | 1.5 Å
Wavelength max | 4.0 Å
Guide - sample | 0.5 m
Moderator - sample | 150 m
m value for coating | 3
Used parameters

## Slide 27: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
Many geometry strings are usually optimized in parallel
Little book of guide reports to choose from!

## Slide 28: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
Scan dimensions Moderator dimensions Divergence requirement Sample size
Used in connection with ESS moderator decision

## Slide 29: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations
C-SPEC results

## Slide 30: guide_bot
Input Job description
Geometry string
Optimization
Optimization of the guide
Output
Guide characterization
Scan of optimizations

## Slide 31: My guide_bot use
Performed more than 20000 guide optimizations
Tens of millions of McStas simulations
Guides for several ESS instruments
Used at PSI in Switzerland
Used at NIST in America
3000
2000
1000
Guide simulations per month

## Slide 32: Code on github
The project is available on github
https://github.com/mads-bertelsen/guide_bot
Not part of my current employment, not very active but available

## Slide 33: Coating Writer
Student project by Martin Olsen at University of Copenhagen
Optimizes coating for performance or performance per cost

## Slide 34: Conclusion
Guide design is about conserving brilliance transfer while avoiding background
The Minimalist Principle provides some bounderies and understanding
guide_bot automates McStas guide optimizations on supported clusters
Even without supported cluster, guide_bot can generate instrument files
Requires MATLAB license