## Slide 1: Guides and gravity in McStas
Mads Bertelsen
Works at ESS DMSC on McStas development

## Slide 2: Overview
Description of phase-space and propagation
Reflectivity
McStas coordinate system
Gravitation in McStas
Guide components with support for gravity
    Guide_gravity
    Elliptic_guide_gravity
Balistic guide
Breaking line of sight
Examples from guide_bot
Exercise

## Slide 3: Beam propagation in free space
z
x
Divergence
“Phase-space” at source
𝜂x
v

## Slide 4: Beam propagation in free space
x
Divergence
Wanted “phase-space” at sample
z
𝜂x
v

## Slide 5: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 6: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 7: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 8: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 9: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 10: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 11: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 12: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 13: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 14: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 15: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 16: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 17: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 18: Beam propagation in free space
x
Divergence
z
𝜂x
v

## Slide 19: Beam propagation in free space
x
𝜂x
v
Divergence
- We lost some phase-space to propagation
z

## Slide 20: Beam propagation in guide
x
Divergence
Wanted “phase-space” at sample
z
𝜂x
v

## Slide 21: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 22: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 23: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 24: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 25: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 26: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 27: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 28: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 29: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 30: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 31: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 32: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 33: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 34: Beam propagation in guide
x
Divergence
z
𝜂x
v

## Slide 35: Beam propagation in guide
x
𝜂x
v
Divergence
With a guide we lost less phase-space area!
z

## Slide 36: Reflectivity curves
Reflectivity, super mirror, reflectivity curve
ki
q
kf
𝛳

## Slide 37: Reflectivity curves in McStas
= 0 W = 0
Only m matters
Better mirrors available today
Slope:
Cutoff:
McStas standard model
McStas fitted model

## Slide 38: Guide placement in McStas
The center is the front of the guide element
Tip: Insert a guide at the end of the guide
COMPONENT Source AT (0,0,0) ABSOLUTE
COMPONENT Guide(length=A) AT (0,0,2) RELATIVE Source
COMPONENT Arm AT (0,0,A) RELATIVE Guide

## Slide 39: Gravitation in McStas
Enabled by adding -g / --gravitation on command line or by selecting “Gravity On” in mcgui
Default ~ gravity on earth #define GRAVITY 9.81 /* [m/s^2] gravitational acceleration */ ( If on the moon, use -DGRAVITY=1.62 ;-) )
For guides, only Guide_gravity and Elliptic_guide_gravity support parabolic propagation. (Many others propagate linearly in v direction.)
As you will see in the practical, implications are greatest with long wavelengths and at long distances
“How about e.g. elliptic mirror optic X that does not support gravity?”
  often a good workaround is to add a monitor close to the surface of object X, this takes care that propagation up to the monitor includes gravitation:
  Gravity is enabled in any call to PROP_DT, PROP_Z0 etc., but not in intersect_* routines (most monitors use PROP_Z0 directly, no intersect_ call first
  OK to propagate without gravitation e.g. within sample, through velocity selector etc. / range of ~cm’s

## Slide 40: Popular guide components: Guide_gravity
Typical guide component with gravity, parameter-interface similar to e.g. Guide.comp
Many additional features, channels, fermi chopper, … (see mcdoc pages for more info)
h2
w1
h1
w2
l

## Slide 41: Popular guide components: Guide_gravity
h2
w1
h1
w2
l
Typical guide component with gravity, parameter-interface similar to e.g. Guide.comp
Many additional features, channels, fermi chopper, … (see mcdoc pages for more info)

## Slide 42: Popular guide components: Guide_gravity
Typical guide component with gravity
Position
Wavelength
Divergence
Position - Divergence

## Slide 43: Popular guide components: Elliptical_guide_gravity
Useful for elliptic and parabolic guide geometries, focusing, ballistic, coating distribution, …
linxw linyh
l
loutxw loutyh
xwidth and yheight at DimensionsAt = ”entrance” , ”mid” or ”exit”

## Slide 44: Popular guide components: Elliptical_guide_gravity
Useful for elliptic and parabolic guide geometries, focusing, ballistic, coating distribution, …
Position
Wavelength
Divergence
Position - Divergence

## Slide 45: Comparison: Guide_gravity and Elliptic_guide_gravity
Guide_gravity
Elliptic_guide_gravity
Position
Wavelength
Divergence
Position - Divergence
Position
Wavelength
Divergence
Position - Divergence

## Slide 46: Balistic guide
Position
Wavelength
Divergence
Position - Divergence
Position
Wavelength
Divergence
Position - Divergence

## Slide 47: Balistic guide with gravity
Position
Wavelength
Divergence
Position - Divergence
Position
Wavelength
Divergence
Position - Divergence
With gravity

## Slide 48: Balistic guide with and without gravity
Position
Wavelength
Divergence
Position - Divergence
Position
Wavelength
Divergence
Position - Divergence
With gravity

## Slide 49: Breaking line of sight
Importance of breaking line of sight, ways of doing so, …

## Slide 50: Breaking line of sight
Bender / Guide_curved component or many straight sections
Mind the gaps, avoid overlap

## Slide 51: Guide optimization
Optimization result from MATLAB guide_bot
Python guide_bot available

## Slide 52: Guide optimization
Optimization results from python guide_bot
pip install guide_bot --upgrade

## Slide 53: Guide exercise
Start with instrument file provided on github
Task 1)
  Compare output for two different guide lengths
Task 2)
  Introduce a parameter that control width of the guide
  Compare two runs with different guide widths
Task 3)
  Check how much gravity impacts the output
Task 4)
  Exchange the last 20% of the guide with an elliptic nose.
  See the geometry with mcdisplay
  Identify how the resulting beam have changed
Solution on github, use if you are stuck