## Slide 1: McStas Union components
Mads Bertelsen, ESS DMSC

## Slide 2: Union in instrument file
Only the Union_master component affect the rays
Instrument component sequence
3D space of simulation

## Slide 3: Union in instrument file
Only the Union_master component affect the rays
In the Union_master there is propagation in a network instead of sequential
Instrument component sequence
3D space of simulation

## Slide 4: Union in instrument file
Only the Union_master component affect the rays
In the Union_master there is propagation in a network instead of sequential
The network complexity is reduced by geometrical analysis before raytracing
Instrument component sequence
3D space of simulation

## Slide 5: Union ray histories
Top 5 most common histories. Shows the index of volumes entered (VX), and the processes (PX)
313073 N I=5.09E+02 V0 -> V1 -> V2 -> V3 -> V4 -> V5 -> V4 -> V3 -> V2 -> V1 -> V0
24844 N I=3.57E+01 V0 -> V1 -> V2 -> V3 -> V4 -> V5 -> P1 -> V4 -> V3 -> V2 -> V1 -> V0
13679 N I=2.22E+01 V0 -> V1 -> V2 -> V3 -> V4 -> V3 -> V2 -> V1 -> V0
9510 N I=1.85E+01 V0 -> V1 -> V2 -> V3 -> V4 -> V6 -> V4 -> V3 -> V2 -> V1 -> V0
159655 N I=1.41E+01 V0 -> V1 -> P1 -> V0
P1 Is scattering process 1

## Slide 6: Building a sample
log(I)
5 meV beam

## Slide 7: Building a sample
log(I)

## Slide 8: Building a sample
log(I)

## Slide 9: Building a sample
log(I)

## Slide 10: Building a sample
log(I)

## Slide 11: Building a sample
log(I)

## Slide 12: Building a sample
log(I)

## Slide 13: Building a sample
log(I)

## Slide 14: Building a sample
log(I)
Image from NIST webpage

## Slide 15: Building a sample
log(I)
Image from NIST webpage

## Slide 16: Building a sample
log(I)
Image from NIST webpage
log(I)

## Slide 17: Union loggers
Record information during scattering
Here spatial distribution of scattered intensity from above
COMPONENT scattering_zx = Union_logger_2D_space( D_direction_1="z",D1_min=-0.25,D1_max=0.25,n1=300, D_direction_2="x",D2_min=-0.25,D2_max=0.25,n2=300, filename="scattering_zx.dat") AT (0,0,0) RELATIVE sample_position

## Slide 18: Union loggers
Can select to view just a specifc order of scattering in the system
1
2
3
All
COMPONENT scattering_zx_1 = Union_logger_2D_space( D_direction_1="z",D1_min=-0.25,D1_max=0.25,n1=300, D_direction_2="x",D2_min=-0.25,D2_max=0.25,n2=300, filename="scattering_zx.dat”,order_total=1) AT (0,0,0) RELATIVE sample_position

## Slide 19: Union loggers
Here the scattering vector is recorded
COMPONENT scattering_zx_Q = Union_logger_2DQ( Q_direction_1="z",Q1_min=-4,Q1_max=4,n1=300, Q_direction_2="x",Q2_min=-4,Q2_max=4,n2=300, filename="scattering_zx_Q.dat") AT (0,0,0) RELATIVE sample_position

## Slide 20: Union loggers
1
2
3
All
Can select to view just a specifc order of scattering in the system

## Slide 22: Union loggers – Use mcdoc

## Slide 23: Union conditionals
log(I)
Wish to understand how individual background features arose

## Slide 24: Union conditionals
log(I)
Wish to understand how individual background features arose
Select subset of output to be recorded in loggers using Union conditionals

## Slide 25: Union conditionals
Can limit the events that are recorded to the logger using conditionals
Here only rays that contribute to the chosen background problem is seen
Spatial distribution of scattered intensity
They modify an existing Logger
COMPONENT conditional = Union_conditional_PSD( target_loggers=” scattering_zx”, xwidth=0.01,yheight=0.01 time_min=1.2E-3, time_max=1.5E-3) AT (0,0,1) RELATIVE sample_position

## Slide 26: Union conditionals
COMPONENT scattering_zx = Union_logger_2D_space( D_direction_1="z",D1_min=-0.25,D1_max=0.25,n1=300, D_direction_2="x",D2_min=-0.25,D2_max=0.25,n2=300, filename="scattering_zx.dat") AT (0,0,0) RELATIVE sample_position
COMPONENT conditional = Union_conditional_PSD( target_loggers=” scattering_zx”, xwidth=0.01,yheight=0.01 time_min=1.2E-3, time_max=1.5E-3) AT (0,0,1) RELATIVE sample_position

## Slide 27: Union conditionals
The different scattering orders makes it easier to draw conclusions
1
2
3
All

## Slide 28: Union conditionals
Scattering vectors of rays that contribute to the chosen background problem

## Slide 29: Union conditionals
Easier to see scattering orders
1
2
3
All

## Slide 31: Conclusion
Use Union components for complex geomtries or for modular physics
Performs full multiple scattering simulation
Slower than typical McStas simulations, but still runs well on a laptop
Strong visualization tools
Easier to contribute physics

## Slide 32: Exercise
Add loggers to your instrument file from the last session
A solution file is available on github for inspiration
mcdoc Union_logger
Mcdoc Union_conditional
One last demonstration talk after the exercise