## Slide 1
Simulating Polarized Neutron Scattering Experiments and Equipment with McStas
Peter Willendrup, DTU Physics & ESS DMSC

## Slide 2: Presentation content
Polarisation in McStas - how is it done
  Polarised monitors
  Precession algorithm
Polarising by spin up / down reflectivities
An overview of polarisation comps
An overview of polarisation instrument examples
A quick look at 3 of these
Words of warning

## Slide 3
McStas “particle” model
Neutron ray/package:
Weight: (p) # neutrons left in the package Position: (x, y, z)
Velocity: (vx, vy, vz)
Polarization: (sx, sy, sz)
Time: (t)
From G. Williams: “Polarized neutrons”, Oxford Science Publ., 1988
n
“Within one ray”
“Over the beam”

## Slide 4
McStas detectors/monitors
Monitoring: How and What do we monitor?
n
n
n
n
n
n
n
(Statistic-) weighted polarisation along chosen
monitoring direction

## Slide 5
McStas detectors/monitors
Monitoring: How and What do we monitor?
n
n
n
n
n
n
n
E.g. polarisation along as fct. of wavelength

## Slide 6
McStas detectors/monitors
Monitoring: How and What do we monitor?
Polarisation along as fct. of wavelength
Nota bene: weighted polarisation, not intensity

## Slide 7
Polarization monitors
Available monitors:
Pol_monitor.comp: 0D
PolLambda_monitor.comp: 2D
PolTOF_monitor.comp: 2D
MeanPolLambda_monitor.comp: 1D

## Slide 8
McStas precession algorithm
Magnetic fields in McStas
The challenge:
  Fast beam/ray transport: #
  Unknown magnetic field and field strength
  >1 Magnet → nested fields.

## Slide 9
From: Knudsen et.al., J. Neutron Research, 2014
McStas precession algorithm

## Slide 10
B1
B2
n
McStas precession algorithm

## Slide 11
B1
B2
n
McStas precession algorithm

## Slide 12
McStas precession algorithm
From: Knudsen et.al., J. Neutron Research, 2014

## Slide 13
McStas precession algorithm
From: Knudsen et.al., J. Neutron Research, 2014

## Slide 14
McStas precession algorithm
From: Knudsen et.al., J. Neutron Research, 2014
/*Threshold below which two magnetic fields are considered to be
* in the same direction.*/
#ifndef mc_pol_angular_accuracy
#define mc_pol_angular_accuracy (1.0*DEG2RAD)
#endif
/*The maximal timestep taken by neutrons in a const field*/
#ifndef mc_pol_initial_timestep
#define mc_pol_initial_timestep 1e-5;
#endif

## Slide 15: Reminder: Reflectivity curves in McStas
= 0 W = 0
Only m matters
Better mirrors available today
Slope:
Cutoff:
McStas standard model
McStas fitted model

## Slide 16: State-of-the-art Polarising Supermirrors (2019)
Swiss Neutronics

## Slide 17
COMPONENT polariser2 = Pol_mirror(
rDownPar = {0.99,0.11,0.9,2,0.0185},
rUpPar = {0.99,0.0485,0.9,1,0.0002},
zwidth = 0.1, yheight = 0.3, p_reflect = 0)
AT (0, 0, 0) RELATIVE polariser_pt
That is: A supermirror polarizer has different reflectivity for spin-up and spin-down neutrons.
In McStas we parametrize this by reflectivity-parameters for “spin-up” and “spin-down” respectively
The vectors parametrise the constants R0 Qc ⍶ m W
Depending on the component, several underlying “reflectivity” functions may be used:
// The McStas standard analytic parametrization of the reflectivity
void StdReflecFunc(double q, double *par, double *r);
// Reflectivity from a table using the routines in read_table-lib.
void TableReflecFunc(double q, t_Table *par, double *r);
// The McStas standard analytic parametrization of the reflectivity for
// double-side coated supermirror.
void StdDoubleReflecFunc(double q, double *par, double *r);
// “Extended” reflectivity fct. with 2nd order ‘beta’ parameter in mc_pol_par
void ExtendedReflecFunc(double mc_pol_q, double *mc_pol_par, double *mc_pol_r);

## Slide 18
McStas polarization components
Optics:
Monochromator_pol.comp
Pol_bender.comp
Pol_guide_mirror.comp
Pol_guide_vmirror.comp
Pol_mirror.comp
Transmission_polarisatorABSnT.comp
Pol_bender_tapering.comp
Monitors:
Pol_monitor.comp
MeanPolLambda_monitor.comp
PolLambda_monitor.comp
PolTOF_monitor.comp
Idealized components:
PolAnalyser_ideal.comp
Pol_SF_ideal.comp
Pol_pi_2_rotator.comp
Set_pol.comp
Magnetic fields:
Pol_FieldBox.comp
Pol_Bfield.comp
Pol_Bfield_stop.comp
Pol_triafield.comp
(Pol_tabled_field 3.x)
Contrib:
Foil_flipper_magnet.comp

## Slide 19
McStas polarization monitors
Monitors
MeanPolLambda_monitor
PolLambda_monitor
Pol_monitor
n
n
n
n
n
n
n

## Slide 20
McStas magnetic fields
Pol_constBfield.comp
Single constant Magnetic field in a “box”.
- user may specify a wavelength to flip. - “blocking walls”

## Slide 21
McStas magnetic fields
Pol_FieldBox.comp
Single Magnetic field in a “box”
Constant or tabled magnetic fields

## Slide 22
McStas magnetic fields
Pol_Bfield.comp
Pol_Bfield_stop.comp - Entry/Exit contruction allows for nested magnetic field descriptions. - Any magnetic field through user supplied c-function - Tabled magnetic fields
Standard field types:
Constant field
Rotating field
Gradient field
“Majorana” type field
Plus user-defined fields (McStas 2.x only) See pol-lib.c in share/ and the examples

## Slide 23
Windows can be many shapes
B-Fields: constant, functional, tabled, … in more general shapes

## Slide 24
McStas magnetic fields
Pol_Bfield.comp
Pol_Bfield_stop.comp - Entry/Exit contruction allows for nested magnetic field descriptions. - Any magnetic field through user supplied c-function - Tabled magnetic fields
Standard field types:
Constant field
Rotating field
Gradient field
“Majorana” type field
Plus user-defined fields (McStas 2.x only) See pol-lib.c in share/ and the examples

## Slide 25
Pol_monitors along the way...

## Slide 26
Pol_monitors along the way...
Pol_lambda_mon 1 placeholder

## Slide 27
Pol_monitors along the way...

## Slide 28
Pol_monitors along the way...

## Slide 29
Nested fields

## Slide 30
Nested fields

## Slide 31
Simple McStas sample component
Incoherent.comp has SF / NSF solution

## Slide 32
McStas sample component
Magnetic single crystal

## Slide 33
McStas sample component
Magnetic single crystal – Unpolarized beam

## Slide 34
McStas sample component
Magnetic single crystal – Polarized beam

## Slide 35
McStas sample component
Magnetic single crystal
From: G. Shirane et.al. ,”Neutron Scattering with Triple-Axis Spectrometer”, Cambridge Univ. Press, 2002

## Slide 36
McStas sample component
Magnetic single crystal

## Slide 37: Example instruments:
*Magnetic*.instr:
Test_Magnetic_Constant.instr
Test_Magnetic_Majorana.instr
Test_Magnetic_Rotation.instr
Test_Magnetic_Userdefined.instr (2.x only)
Test_single_magnetic_crystal.instr (2.x only)
*Pol*.instr: Test_Pol_Bender.instr
Test_Pol_Bender_Vs_Guide_Curved.instr
Test_Pol_FieldBox.instr
Test_Pol_Guide_Vmirror.instr
Test_Pol_Guide_mirror.instr
Test_Pol_MSF.instr
Test_Pol_Mirror.instr
Test_Pol_SF_ideal.instr
Test_Pol_Set.instr
Test_Pol_Tabled.instr
Test_Pol_TripleAxis.instr
SE*.instr: SEMSANS_Delft.instr
SEMSANS_instrument.instr
SESANS_Delft.instr
SE_example.instr
SE_example2.instr
A copy of the files from McStas 3.4 is placed in the ‘instrs’ folder

## Slide 38: McStas: IN20 TAS model – comparing signals from Vanadium
Energy transfer
Flux (AU)
UNPOLARISED
UP → UP + DOWN
UP → DOWN
UP → UP

## Slide 39: Generic spin-echo SE_example2.instr
Source
Transmission- polariser
Transmission- analyser
Detector
2 x π/2 flipper’s
π/2 flipper
Guide-field 1
Guide-field 2
V sample
π/2 flipper

## Slide 40
Tuning of guide-field 1 around its value allows us to see spin-echo:

## Slide 41
Highlight: McStas example SEMSANS
Courtesy: M. Sales et.al.

## Slide 42: Experiment Simulation
Highlight: McStas example SEMSANS

## Slide 43: Gotcha’s
Polarisation docs in manual are out of date wrt. the current code/algorithm…
For now, don’t combine gravity and polarisation! (Guide_gravity and Elliptic_guide_gravity can currently not be used within field regions.)
Pol_Bfield placement can be confusing depending on choice of geometry-parts…
McStas 3.x does not support
  User-defined field functions (No function pointers on GPU… code-generator may rescue us later)
  Having optics within tabled fields (tabled fields are for now only available in Pol_tabled_field which can not work in “concentric geometries)
GitHub issues exist or will be written, these things will eventually all be fixed!