## Slide 1: Time of flight diffractometer
Mads Bertelsen

## Slide 2: Larger exercise – More time
Build a time of flight diffractometer
  Starting from basics
  Get results early
Do basic calculations on time of flight considerations
Do basic data analysis
Work with resolution

## Slide 3: Time of flight
Monitor1
Source
Monitor2
Monitor3
z
6.5 m
160 m

## Slide 4: Time of flight
z
t
Monitor1
Source
Monitor2
Monitor3
z
6.5 m
160 m

## Slide 5: Time of flight
z
t
v
Monitor1
Source
Monitor2
Monitor3
z
6.5 m
160 m

## Slide 6: Time of flight
z
t
v2
v1
Monitor1
Source
Monitor2
Monitor3
z
6.5 m
160 m

## Slide 7: Time of flight
z
t
v
Monitor1
Source
Monitor2
Monitor3
z
6.5 m
160 m

## Slide 8: Time of flight
z
t
?
Monitor1
Source
Monitor2
Monitor3
z
6.5 m
160 m

## Slide 9: Time of flight
Monitor1
Source
Monitor2
Monitor3
z
z
t
6.5 m
160 m
Wavelength band

## Slide 10: Time of flight powder exercise
Start with instrument file provided on github
First steps is just playing with timing
Calculate the wavelength band
Add sample and detector
Calculate scattering vector from scattering angle and timing
Calculate resolution
Improve resolution
Improve realism
Solution on github, use if you are stuck