## Slide 1: Further samples… SANS, reflectometry, imaging, inelastic scattering
Peter Willendrup

## Slide 2: Further samples in McStas
A look at the “Sample functionality matrix”
Models for SANS
Inelastic scattering, examples:
    Phonon_simple
    Isotropic_sqw
McStas performance, TAS / Chopper

## Slide 3
Small angle scattering SANS
SANS method can be used for many types of material
Often: Molecule + Liquid (buffer solution)
Isotropic scattering
Small Angle Neutron Scattering
Elastic Scattering
Small angle -> small q -> big r
Gain information on the molecular scale 10-100Å
Low signal to noise
Contrast method
Instrument requirements: good collimation, long flight distance after detector.

## Slide 4: SANS models in McStas

## Slide 5
Example: SANS spheres
Dilute, monodisperse, hard spheres in solution, with given contrast and radius

## Slide 6: Reflectometry
Used to probe properties of surfaces and interfaces - solids and liquids

## Slide 7: Reflectometry samples in McStas

## Slide 8: Example: Multilayer_sample

## Slide 9
Absorption Imaging - simple shapes or OFF’s of single-phase material blocks
An additional complex geometry enables to use any point set to describe the material volume (geomview OFF file).

## Slide 10
Absorption Imaging - simple shapes or OFF’s of single-phase material blocks
An additional complex geometry enables to use any point set to describe the material volume (geomview OFF file).
New developments are in the pipe e.g. for multi-phase materials, refractive effects, phase-contrast imaging techniques, these are not ready yet.

## Slide 11: Inelastic scattering S(q,w)
Partial differential cross section
Scattering function
Phonons, Spin waves, …

## Slide 12: McStas samples with inelastic options

## Slide 13: Example component: Phonon_simple
q
⍵
q0
Dispersion relation, theory and mcstas
One isotropic acoustic phonon branch in all Brillouin zones on FCC Bravais single crystal
Dispersion

## Slide 14: Example component: Phonon_simple
Example of the output
Elastic scattering only
Combine with Single_crystal for elastic-inelastic scattering
Magnon_fcc is conceptually very similar
Describes coherent “closed-form” inelastic scattering, generalisations foreseen, different lattice-dep. Other dispersion shapes?
4 meV energy transfer

## Slide 15: Example component: Isotropic_sqw
Isotropic processes (powder, liquid, …)
Use data files to describe S(|q|,w) directly, coherent and incoherent - isotropic scattering
Supports concentric geometries

## Slide 16: Example component
Single_crystal_inelastic
Contribution from Duc Le, ISIS
“Marriage” between Single_crystal and 4D equivalent of Isotropic_Sqw
BIG tables, lots of memory, close to impossible to use for anything but “locally” in reciprocal space, i.e. in TAS settings
We are looking for good alternatives

## Slide 17: Inelastic scattering in McStas
Monte carlo sampling issues
Need to sum over large amount of possible final states to find cross section
Need large amount of rays to sample all the options
qz
qx
qy
+⍵
dqy
dqx
dqz
+d⍵

## Slide 18: TAS
Only a small fraction of neutrons arrive, most are simulated in vain

## Slide 19: Chopper spectrometers
Only a small fraction of neutrons arrive, most are simulated in vain

## Slide 20: Conclusions
SANS
  Lots of choice, many models (challenge can be to decide what to choose)
Reflectometry:
  Only little choice, Multilayer_sample or “a mirror”
Imaging:
  Single-phase “blocks” of material, new developments are in the pipe
Inelastic scattering
  Inelastic scattering supported in McStas, not all cases fully covered
  Longer computational times required
  Advantages from simulation especially important for spectroscopy (resolution function)